## Day1
Note: Concentration in ppm (not corrected for chamber volume dilution) | [6 empty] | Reported | Reference
Times saved in HH:MM:SS format |  | Interval time | 20 | seconds |  | Gas Temp |  | 29.3
[6 empty] | Gas Pressure |  | 140.14
[6 empty] | Laser A tau |  | 10.14
[6 empty] | Laser B tau |  | 10.85
|  | Date (DD/MM/YYYY): | 2021-09-11
|  | Start Time (First Flush): | 14:24 | Straight
| Tilted | [7 empty] | Straight | Time per sub-set
| BASE |  |  |  | PEAK (SteadyState) |  |  |  | BASE
| Closed Loop Initial Time | Closed Loop Measurement Time | [CH4(dry)] | [CO2(dry)] | Injection Time | Closed Loop Measurement Time | [CH4(dry)] | [CO2(dry)] | Flushing Initial Time
CTRL R1 | 14:25 | 14:25 | 1.999 | 414.65 | 14:26 | 14:26 | 7.3699 | 440.73 | 14:26 | 0:01
CTRL R2 | 14:27 | 14:27 | 2.1354 | 411.92 | 14:27 | 14:28 | 7.7772 | 433.59 | 14:28 | 0:01
CTRL R3 | 14:28 | 14:29 | 2.1422 | 412.15 | 14:29 | 14:29 | 7.6422 | 435.18 | 14:30 | 0:01
SAMPLE R1 | 14:30 | 14:30 | 2.1864 | 416.08 | 14:31 | 14:31 | 2.2187 | 415.7 | 14:31 | 0:01
SAMPLE R2 | 14:32 | 14:32 | 2.0011 | 409.73 | 14:32 | 14:33 | 2.0032 | 409.83 | 14:33 | 0:02 | before inyection opened the valve on the wrong side to connect to atmosphere and vial together | maybe also before al others
SAMPLE R3 | 14:33 | 14:34 | 1.9969 | 406.23 | 14:34 | 14:35 | 2.0054 | 410.31 | 14:35 | 0:01
SAMPLE R4 | 14:35 | 14:35 | 1.9963 | 410.7 | 14:36 | 14:36 | 2.004 | 407.53 | 14:36 | 0:01
[8 empty] | Total |  | 0:12
[8 empty] | Average per sub-set |  | 0:01
at the time indicated above, the leves has to be | Tilted | Tilted | Tilted | Tilted | Tilted | Tilted | Tilted | Tilted | Straight
| Tilted | Loop | Silent
| Straight | Flush (outside) | Noisy