## Sheet1
Note: Concentration in ppm as reported by LGGA (not corrected for chamber volume dilution) | [6 empty] | Observed | Reference
Times saved in HH:MM:SS format |  | Interval time | 45 | seconds |  | Gas Temp |  | 29.3
[6 empty] | Gas Pressure |  | 140.14
[6 empty] | Laser A tau |  | 10.14
[6 empty] | Laser B tau |  | 10.85
|  | Date (DD/MM/YYYY): | 2021-09-11
|  | Start Time (First Flush): | 14:24 | Straight
| Tilted | [7 empty] | Straight | Time per sub-set
| BASE |  |  |  | PEAK (SteadyState) |  |  |  | BASE
| Closed Loop Initial Time | Closed Loop Measurement Time | [CH4(dry)] | [CO2(dry)] | Injection Time | Closed Loop Measurement Time | [CH4(dry)] | [CO2(dry)] | Flushing Initial Time
CTRL R1 | 14:25 | 14:26 |  |  | 14:26 | 14:26 |  |  | 14:26 | 0:01
CTRL R2 | 14:27 | 14:28 |  |  | 14:27 | 14:28 |  |  | 14:28 | 0:01
CTRL R3 | 14:29 | 14:29 |  |  | 14:29 | 14:30 |  |  | 14:30 | 0:01
SAMPLE R1 | 14:30 | 14:31 |  |  | 14:31 | 14:31 |  |  | 14:31 | 0:01
SAMPLE R2 | 14:32 | 14:33 |  |  | 14:32 | 14:33 |  |  | 14:33 | 0:01
SAMPLE R3 | 14:34 | 14:35 |  |  | 14:34 | 14:35 |  |  | 14:35 | 0:01
SAMPLE R4 | 14:36 | 14:36 |  |  | 14:36 | 14:37 |  |  | 14:36 | 0:01
[8 empty] | Total |  | 0:12
[8 empty] | Average per sub-set |  | 0:01
At the time indicated above, the leves has to be: | Tilted | Tilted | Tilted | Tilted | Tilted | Tilted | Tilted | Tilted | Straight
| Tilted | Loop | Silent
| Straight | Flush (outside) | Noisy